## Proposal Inputs
FOURTH PARTNER ENERGY — CAPEX Proposal Inputs
Yellow cells = your inputs ¦ Pink = mandatory ¦ Blue = optional ¦ Formulas are fine — the document shows the value exactly as Excel displays it
Key | Field | Your Value | Example | Mandatory | Page
1 · COVER PAGE & EXECUTIVE SUMMARY
PH_001 | Proposed Capacity (kWp) |  | 910 | MANUAL | 1,2
PH_002 | Installation Technology | Rooftop-Shed | Rooftop - Shed | MANUAL | 1
PH_003 | Estimated Generation (kWh/year) |  | 12,50,000 | AUTOMATIC - Input and Output SHEET | 1,4
PH_004 | % Consumption Replaced |  | ~42% | MANUAL | 4
PH_005 | Net Metering (Yes/No) | Yes | Yes | MANUAL | 4
PH_006 | Key Components — Modules | Renewsys 585+ Wp | Renewsys 595 Wp | MANUAL | 4
PH_007 | Key Components — Inverters | Solis | Solis | MANUAL | 4
PH_008 | Project Timeline | 4 + 1 Months | 4–5 months | MANUAL | 4
PH_009 | Exclusions (Exec summary) | Spare feeder, Internet connectivity | Spare feeder; Net meter infra; Internet | MANUAL | 4
PH_010 | Commercial — Investment (Rs. Crs) | 0 | 3.50 | AUTOMATIC - Working Sheet | 4
PH_011 | Commercial — Payment Terms | 30% advance + 70% via BG/LC | 30% advance + 70% via BG/LC | MANUAL | 4
PH_012 | Commercial — AMC Cost | ₹ 650/kWp/yr with 5% escalation | ₹ 650/kWp/yr with 5% escalation | MANUAL | 4
PH_013 | Commercial — Payback Period |  | 4.2 years | AUTOMATIC - Working Sheet | 4
PH_014 | Commercial — Net Savings over 25 Years (₹ Cr) | 6.9798 | 12.5 | AUTOMATIC - Working Sheet | 4
PH_015 | Commercial — CO₂ Reduction (Tonnes/year) | #DIV/0! | 816 | AUTOMATIC - ENV | 4
PH_016 | Proposal Submitted by | Carl Aaron ¦ carl.aaron@fourthpartner.co ¦ +91-9551062519 | Carl Aaron | Optional | 4
PH_017 | Proposal Submitted on | 10th August 2026 | 31st Jul 2025 | AUTOMATIC | 4
PH_018 | Proposal Validity | 15 days | 15 days | Optional | 4
2 · SITE DETAILS (1.1 Customer & 1.2 Site)
PH_019 | Customer Name |  | IFGL Refractories Ltd. | MANUAL | 1,5,13
PH_020 | Customer Address (short) |  | Kandla, Gujarat | MANUAL | 1,5,13
PH_021 | Contact Person |  | Mr. A. Sharma | MANUAL | 5
PH_022 | Mobile |  | +91-98XXXXXXXX | MANUAL | 5
PH_023 | Email |  | name@company.com | MANUAL | 5
PH_024 | Site Address (full) |  | Kandla, Gujarat | MANUAL | 5
PH_025 | Latitude |  | 23.0339 | MANUAL | 5
PH_026 | Longitude |  | 70.2167 | MANUAL | 5
PH_027 | Type of Installation |  | Rooftop - Shed | MANUAL | 5
PH_028 | Type of Roofs |  | Metal Sheet | MANUAL | 5
PH_029 | Availability of Water |  | Yes | Optional | 5
PH_030 | Shading |  | Shadow-free | Optional | 5
PH_031 | Site GMap Image Path |  | C:\Proposals\site.png | Optional | 5
3 · CAPACITY ASSESSMENT (2.1)
PH_032 | Capacity — Shadow-free area: kWp |  | 910 | Yes | 6
PH_033 | Capacity — Shadow-free area: Notes | Usable shadow-free roof area | Usable shadow-free roof area | Optional | 6
PH_034 | Capacity — Electricity consumption: kWp |  | 910 | Yes | 6
PH_035 | Capacity — Electricity consumption: Notes | ~42% of annual consumption | ~42% of annual consumption | Optional | 6
PH_036 | Capacity — State regulatory limit: kWp |  | No limit | Optional | 6
PH_037 | Capacity — State regulatory limit: Notes | Net metering norms | Net metering norms | Optional | 6
PH_038 | Capacity — Proposed Capacity: kWp |  | 910 | Yes | 6
PH_039 | Capacity — Proposed Capacity: Notes | Final proposed plant size | Final proposed plant size | Optional | 6
4 · PLANT LAYOUT (2.2)
PH_040 | Plant Layout — Type of Installation |  | Rooftop - Shed | Yes | 6-8
PH_041 | Plant Layout — Type of Mounting |  | Metal sheet roof mounting | Yes | 6-8
PH_042 | Plant Layout — Power Evacuation |  | LT side, synchronised with grid | Yes | 6-8
PH_043 | Rooftop · Row1 — Shed/Building |  | Shed A | Optional | 6-8
PH_044 | Rooftop · Row1 — Capacity (kWp) |  | 300 | Optional | 6-8
PH_045 | Rooftop · Row1 — Tilt |  | 10° | Optional | 6-8
PH_046 | Rooftop · Row1 — Azimuth |  | 180° | Optional | 6-8
PH_047 | Rooftop · Row1 — Walkways/Lifeline |  | Yes | Optional | 6-8
PH_048 | Rooftop · Row2 — Shed/Building |  | Shed B | Optional | 6-8
PH_049 | Rooftop · Row2 — Capacity (kWp) |  | 300 | Optional | 6-8
PH_050 | Rooftop · Row2 — Tilt |  | 10° | Optional | 6-8
PH_051 | Rooftop · Row2 — Azimuth |  | 180° | Optional | 6-8
PH_052 | Rooftop · Row2 — Walkways/Lifeline |  | Yes | Optional | 6-8
PH_053 | Rooftop · Total Capacity (kWp) | 0 kWp | 600 | Optional | 6-8
PH_054 | Shed · Row1 — Shed/Building |  | Shed A | Optional | 6-8
PH_055 | Shed · Row1 — Capacity (kWp) |  | 300 | Optional | 6-8
PH_056 | Shed · Row1 — Tilt |  | 10° | Optional | 6-8
PH_057 | Shed · Row1 — Azimuth |  | 180° | Optional | 6-8
PH_058 | Shed · Row1 — Walkways/Lifeline/Railings |  | Yes | Optional | 6-8
PH_059 | Shed · Row2 — Shed/Building |  | Shed B | Optional | 6-8
PH_060 | Shed · Row2 — Capacity (kWp) |  | 300 | Optional | 6-8
PH_061 | Shed · Row2 — Tilt |  | 10° | Optional | 6-8
PH_062 | Shed · Row2 — Azimuth |  | 180° | Optional | 6-8
PH_063 | Shed · Row2 — Walkways/Lifeline/Railings |  | Yes | Optional | 6-8
PH_064 | Shed · Total Capacity (kWp) | 0 kWp | 600 | Optional | 6-8
PH_065 | Ground · Type of Installation |  | Ground Mount | Optional | 7
PH_066 | Ground · Azimuth (deg) |  | 180° | Optional | 7
PH_067 | Ground · Tilt (deg) |  | 15° | Optional | 7
PH_068 | Ground · Type of Mounting |  | Fixed tilt | Optional | 7
PH_069 | Ground · Power Evacuation |  | HT side | Optional | 7
PH_070 | Ground · Fencing |  | Chain-link, 6 ft | Optional | 7
PH_071 | Ground · Plant Lighting |  | Yes | Optional | 7
PH_072 | Carport/Float · Type of Installation |  | Carport | Optional | 7
PH_073 | Carport/Float · Azimuth (deg) |  | 180° | Optional | 7
PH_074 | Carport/Float · Tilt (deg) |  | 10° | Optional | 7
PH_075 | Carport/Float · Type of Mounting |  | Steel structure | Optional | 7
PH_076 | Carport/Float · Power Evacuation |  | LT side | Optional | 7
PH_077 | Carport/Float · Fencing |  | N/A | Optional | 7
PH_078 | Carport/Float · Plant Lighting |  | Yes | Optional | 7
5 · ESTIMATED GENERATION (2.3)
PH_079 | Gen — Type of System |  | Grid-tied rooftop solar | MANUAL | 9
PH_080 | Gen — Estimated Generation (kWh/year) |  | 12,50,000 | Yes | 9
PH_081 | Gen — Degradation |  | 2.5% Yr-1, 0.7% p.a. thereafter | Optional | 9
PH_082 | Gen — Guaranteed Generation (kWh/year) |  | 11,25,000 | Yes | 9
PH_083 | Gen — Plant Life (Years) |  | 25 | MANUAL | 9
PH_084 | Gen — Irradiation (kWh/m²/yr) |  | 1,850 | MANUAL | 9
6 · BILL OF MATERIAL (2.4) — Specifications
PH_085 | BOM · PV Module — Type | Monocrystalline PERC | Monocrystalline PERC | Yes | 10-11
PH_086 | BOM · PV Module — Make / Model | Renewsys 595 Wp | Renewsys 595 Wp | Yes | 10-11
PH_087 | BOM · PV Module — Efficiency | 21.3% | 21.3% | Optional | 10-11
PH_088 | BOM · Inverter — Type | String inverter | String inverter | Yes | 10-11
PH_089 | BOM · Inverter — Env. Class / Location | IP66, outdoor | IP66, outdoor | Optional | 10-11
PH_090 | BOM · Inverter — Make / Model | Solis | Solis | Yes | 10-11
PH_091 | BOM · Mounting Structure — Type | Galvanised steel | Galvanised steel | Yes | 10-11
PH_092 | BOM · Mounting Structure — Make | Standard GI | Standard GI | Optional | 10-11
PH_093 | BOM · DC Cable — Make / Size | Polycab, 4/6 sq.mm | Polycab, 4/6 sq.mm | Optional | 10-11
PH_094 | BOM · AC Cable — Make / Size | Polycab, as per design | Polycab, as per design | Optional | 10-11
PH_095 | BOM · Cable Tray — Type / Size | GI perforated | GI perforated | Optional | 10-11
PH_096 | BOM · LT Switchgear — Type/Make/Rating | ABB/Schneider, as per design | ABB/Schneider, as per design | Optional | 10-11
PH_097 | BOM · Spare Feeder — Type/Make/Rating | As per design | As per design | Optional | 10-11
PH_098 | BOM · Energy Meter + ACCB — Make/Class | Class 0.5S | Class 0.5S | Optional | 10-11
PH_099 | BOM · Lightning Arrestor — Type/Make | ESE type | ESE type | Optional | 10-11
PH_100 | BOM · Earthing Kit — Make/Specs | Chemical earthing | Chemical earthing | Optional | 10-11
PH_101 | BOM · Lifeline — Make | SS lifeline | SS lifeline | Optional | 10-11
PH_102 | BOM · Walkways — Type/Size | GI walkway | GI walkway | Optional | 10-11
PH_103 | BOM · Mesh over Skylights — Make/Specs | GI mesh | GI mesh | Optional | 10-11
PH_104 | BOM · Railings over Roof — Make/Specs | GI railing | GI railing | Optional | 10-11
PH_105 | BOM · Ladder — Make/Specs | GI cage ladder | GI cage ladder | Optional | 10-11
PH_106 | BOM · Remote Monitoring System — Make/Specs | Solis RMS | Solis RMS | Optional | 10-11
PH_107 | BOM · Irradiation Sensor — Make/Specs | Pyranometer | Pyranometer | Optional | 10-11
PH_108 | BOM · Ambient Temp. Sensor — Make/Specs | RTD sensor | RTD sensor | Optional | 10-11
PH_109 | BOM · Module Cleaning (Manual) — Make | Manual cleaning kit | Manual cleaning kit | Optional | 10-11
PH_110 | BOM · Water Pump/Tank/Meter — Make | As per site | As per site | Optional | 10-11
PH_111 | BOM · HT/VCB Panel — Type/Make/Rating | As per design | As per design | Optional | 11
PH_112 | BOM · Transformer — Type/Make/Rating | As per design | As per design | Optional | 11
PH_113 | BOM · Transmission/Termination — Type/Length | As per design | As per design | Optional | 11
PH_114 | BOM · Auxiliary Power — Transformer/LT/UPS | As per design | As per design | Optional | 11
PH_115 | BOM · MCR Room / SCADA — Standard/Make | As per design | As per design | Optional | 11
PH_116 | BOM · Boundary/Lighting/CCTV — Standard/Make | As per design | As per design | Optional | 11
PH_117 | BOM · Fire Fighting Equipment — Make | As per design | As per design | Optional | 11
PH_118 | BOM · Net Metering Hardware — Make/Class | Class 0.5S, ABT meter | Class 0.5S, ABT meter | Optional | 11
PH_119 | BOM · Net Metering Cubicle — Make | As per design | As per design | Optional | 11
7 · PROJECT SCHEDULE (2.6)
PH_120 | Schedule — Delivery & Installation (months) | 4 + 1 Months | 4–5 months | MANUAL | 12
8 · PROJECT COST (3.1) — CAPEX
PH_121 | Cost — EPC: Investment per Wp (Rs.) |  | 35.50 | MANUAL | 13
PH_122 | Cost — EPC: Total Investment (Rs.) |  | 3,23,05,000 | MANUAL | 13
PH_123 | Cost — Net Metering: Investment per Wp (Rs.) |  |  | Optional | 13
PH_124 | Cost — Net Metering: Total Investment (Rs.) |  |  | Optional | 13
PH_125 | Cost — Gen Panel: Investment per Wp (Rs.) |  |  | Optional | 13
PH_126 | Cost — Gen Panel: Total Investment (Rs.) |  |  | Optional | 13
PH_127 | Cost — TOTAL: Investment per Wp (Rs.) |  |  | MANUAL | 13
PH_128 | Cost — TOTAL: Total Investment (Rs.) |  | 3,54,90,000 | MANUAL | 13
PH_129 | Cost — Total in words |  | Rupees Three Crore Fifty-Four Lakh Ninety Thousand Only | MANUAL | 13
PH_130 | Cost — USD–INR Exchange Rate Assumption |  | 95.55 | MANUAL | 13
PH_131 | Cost — AMC Cost Year 1 (₹/kWp) |  | 650 | MANUAL | 13
9 · FINANCIAL ANALYSIS (3.2) — CAPEX UPDATE INPUT & OUTPUT SHEET
PH_132 | Fin — System Size (kWp) | 500 | 910 | AUTOMATIC - Input and Output SHEET | 13
PH_133 | Fin — System Cost incl. GST (Rs. Lacs) | 239.308 | 386.59 | AUTOMATIC - Input and Output SHEET | 13
PH_134 | Fin — GST Input Credit (Rs. Lacs) | 19.5578 | 30.12 | AUTOMATIC - Input and Output SHEET | 13
PH_135 | Fin — Net Cost to Client (Rs. Lacs) | 219.7503 | 356.47 | AUTOMATIC - Input and Output SHEET | 13
PH_136 | Fin — AMC Cost (Rs. Lacs/year) | 3.25 | 5.92 | AUTOMATIC - Input and Output SHEET | 13
PH_137 | Fin — Solar Units Generated Yr1 (Units/year) | 657000 | 12,50,000 | AUTOMATIC - Input and Output SHEET | 13
PH_138 | Fin — Present Power Tariff (Rs./unit) | 7.08 | 8.50 | AUTOMATIC - Input and Output SHEET | 13
PH_139 | Fin — Avg. EB Tariff Increase (% p.a.) | 2% | 3% | AUTOMATIC - Input and Output SHEET | 13
PH_140 | Fin — Savings in Year 1 post-tax (Rs. Lacs) | 50.9646 | 85.60 | AUTOMATIC - Input and Output SHEET | 13
PH_141 | Fin — Payback Period (Years) | 5.1376 | 4.2 | AUTOMATIC - Input and Output SHEET | 13
PH_142 | Fin — Project Life (Years) | 25 | 25 | AUTOMATIC - Input and Output SHEET | 13
PH_143 | Fin — Inverter Life (Years) | 5 | 10 | AUTOMATIC - Input and Output SHEET | 13
PH_144 | Fin — Net Savings over Project Life (Rs. Lacs) | 697.9771 | 1,250 | AUTOMATIC - Input and Output SHEET | 13
PH_145 | Fin — Total Units over Project Life (Lac Units) | 152.424 | 280 | AUTOMATIC - Input and Output SHEET | 13
PH_146 | Fin — Project IRR Post Tax (%) | 3.8853 | 28% | AUTOMATIC - Input and Output SHEET | 13
PH_147 | Fin — Equity IRR Post Tax (%) | 17.68% | 32% | AUTOMATIC - Input and Output SHEET | 13
PH_148 | Fin — Levelised Cost of Generation (Rs./kWh) | 35.8% | 3.25 | AUTOMATIC - Input and Output SHEET | 13
10 · TERMS & CONDITIONS (3.3)
PH_149 | T&C — Offer Validity (days) | 15 days | 15 days | Optional | 14
PH_150 | T&C — AMC Cost Yr1 (₹ Lakhs) | 3.25 | 5.92 | Optional | 14
PH_151 | T&C — FPEL GST No. (State Specific) |  | 36AADCF1234R1ZW | Optional | 14
PH_152 | T&C — Exclusions | Spare feeder, Internet connectivity | Spare feeder; Net meter infra | Optional | 14
11 · ENVIRONMENTAL IMPACT (5.0)
PH_153 | Env · CO₂ Reduction (Tonnes/year) | #DIV/0! | 816 | AUTOMATIC | 17
12 · COVER — PROJECT SNAPSHOT
PH_154 | Cover · Est. Generation (kWh/yr) | 0.00 L | 12.5 L | AUTOMATIC - ENV | 2
PH_155 | Cover · Consumption Replaced |  | 42% | Optional | 2
PH_156 | Cover · Investment (Rs. Cr) | ₹ 0.00 Cr | ₹ 3.55 Cr | AUTOMATIC | 2
PH_157 | Cover · CO₂ Reduction / yr | #DIV/0! | 1,480 t | AUTOMATIC - ENV | 2
PH_158 | Cover · Project Timeline | 4 + 1 Months | 4 months | AUTOMATIC - ENV | 2
13 · COVER — ENVIRONMENTAL IMPACT CARDS - UPDATE THE YIELD IN ENVIRONMENTAL SHEET
PH_159 | Cover Env · Coal Saved (tons) | #DIV/0! | 1,480 | AUTOMATIC - ENV | 2
PH_160 | Cover Env · Water Savings (M litres) | #DIV/0! | 2.1 | AUTOMATIC - ENV | 2
PH_161 | Cover Env · Trees Planted | #DIV/0! | 24,300 | AUTOMATIC - ENV | 2
14 · ENVIRONMENTAL IMPACT PAGE (5.0 — 2x2 grid on image)
PH_162 | Env Page · Coal Conserved (top-left) | #DIV/0! | 4,141 | AUTOMATIC - ENV | 17
PH_163 | Env Page · Trees Planted (top-right) | #DIV/0! | 4,141 | AUTOMATIC - ENV | 17
PH_164 | Env Page · Water Saved (bottom-left) | #DIV/0! | 321 | AUTOMATIC - ENV | 17
PH_165 | Env Page · CO₂ Emission Reduced (bottom-right) | #DIV/0! | 32,100 | AUTOMATIC - ENV | 17

## BOM Inputs
PH_085 | BOM · PV Module — Type | Monocrystalline PERC
PH_086 | BOM · PV Module — Make / Model | Renewsys 595 Wp
PH_087 | BOM · PV Module — Efficiency | 21.3%
PH_088 | BOM · Inverter — Type | String inverter
PH_089 | BOM · Inverter — Env. Class / Location | IP66, outdoor
PH_090 | BOM · Inverter — Make / Model | Solis
PH_091 | BOM · Mounting Structure — Type | Galvanised steel
PH_092 | BOM · Mounting Structure — Make | Standard GI
PH_093 | BOM · DC Cable — Make / Size | Polycab, 4/6 sq.mm
PH_094 | BOM · AC Cable — Make / Size | Polycab, as per design
PH_095 | BOM · Cable Tray — Type / Size | GI perforated
PH_096 | BOM · LT Switchgear — Type/Make/Rating | ABB/Schneider, as per design
PH_097 | BOM · Spare Feeder — Type/Make/Rating | As per design
PH_098 | BOM · Energy Meter + ACCB — Make/Class | Class 0.5S
PH_099 | BOM · Lightning Arrestor — Type/Make | ESE type
PH_100 | BOM · Earthing Kit — Make/Specs | Chemical earthing
PH_101 | BOM · Lifeline — Make | SS lifeline
PH_102 | BOM · Walkways — Type/Size | GI walkway
PH_103 | BOM · Mesh over Skylights — Make/Specs | GI mesh
PH_104 | BOM · Railings over Roof — Make/Specs | GI railing
PH_105 | BOM · Ladder — Make/Specs | GI cage ladder
PH_106 | BOM · Remote Monitoring System — Make/Specs | Solis RMS
PH_107 | BOM · Irradiation Sensor — Make/Specs | Pyranometer
PH_108 | BOM · Ambient Temp. Sensor — Make/Specs | RTD sensor
PH_109 | BOM · Module Cleaning (Manual) — Make | Manual cleaning kit
PH_110 | BOM · Water Pump/Tank/Meter — Make | As per site
PH_111 | BOM · HT/VCB Panel — Type/Make/Rating | As per design
PH_112 | BOM · Transformer — Type/Make/Rating | As per design
PH_113 | BOM · Transmission/Termination — Type/Length | As per design
PH_114 | BOM · Auxiliary Power — Transformer/LT/UPS | As per design
PH_115 | BOM · MCR Room / SCADA — Standard/Make | As per design
PH_116 | BOM · Boundary/Lighting/CCTV — Standard/Make | As per design
PH_117 | BOM · Fire Fighting Equipment — Make | As per design
PH_118 | BOM · Net Metering Hardware — Make/Class | Class 0.5S, ABT meter
PH_119 | BOM · Net Metering Cubicle — Make | As per design

## Environmental Benefits (2)
Environmental Impact Cumulative Impact
Emmission Data (kg/kWh) consumed / emmitted
Coal* | 0.47 | kg/kWh
Cox* | 0.97 | kg/kWh
Sox** | 0.007 | kg/kWh
Nox** | 0.0043 | kg/kWh
Water*** | 2.3 | L/kWh
CO2 absorption by trees**** | 21.7725 | kgs / tree year
Total Capacity Installed | 0 | KWp
P50 Value - KWH/kWp per day | 4 | KWH/kWp per day
Estimated Generation | 0 | KWH
Average CUF | #DIV/0! | %
Average reduction when compared to a coal powered plant (Tons / Year)
System | Coal | Sulphur oxides | Nitrogen oxides | Carbon oxides | Water (Litres)
Option | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Carbon offset expressed as number of mature trees planted | #DIV/0!
*https://www.eia.gov
**https://www3.epa.gov/ttnchie1/conference/ei20/session5/mmittal.pdf
***http://breakingenergy.com/2014/03/24/infographic-water-used-by-power-plants/
****http://www.arborenvironmentalalliance.com/carbon-tree-facts.asp

## Inputs and Output
PROJECT INPUTS & ASSUMPTIONS |  |  | OUTPUT |  |  |  |  | Institutional | Yes | Apr-Sept
[8 empty] | Corporate | No | Oct-Mar
Project Data |  |  | Item | Unit | Value
Capacity | 500 | kWp | System Size | kWp | 500
Project cost (excls. GST) | 43.9501 | INR/Wp | System cost (including GST) | Rs. Lacs | 239.308 |  |  | Tax Calculation
GST | 3.9116 | INR |  |  |  |  | Things to note | Old | New
Project Cost (incls. of GST) | 47.8616 | INR/Wp | GST Input Credit | Rs. Lacs | 19.5578 | 1 | The project cost in Cell D7 to be input is exclusive of GST cost. | 34.94% | 25.63%
Project Life | 25 | Years | Net cost to client | Rs. Lacs | 219.7503 | 2 | If you are giving AMC free for the 1st year, kindly modify the formula in the workingsaccodingly.
Inverter Life | 5 | Years | AMC cost | Rs. Lacs/year | 3.25 | 3 | Please Select Yes/No in cell D16 in client is able to claim GST Input Credit.
O&M Cost | 650 | INR/kWp | Solar Units generated in the first year. | Units / year | 657000 | [5 empty] | `
O&M Escalation | 5% | % p.a. | Present Power tariff | Rs/ unit | 7.08
Daily Generation | 3.6 | kWh/kWp/day | Avg. EB tariff increase | % p.a. | 2%
Insurance | 0.2% | Book value | Savings in Year 1 (post tax) | Rs. Lacs | 50.9646
Equipment change | 1% | Project cost | Payback period | Years | 5.1376
GST Input Credit | Yes |  | Project life | Years | 25
|  |  | Inverter life | Years | 5
Entity type | Corporate |  | Net savings over project life | Rs. Lacs | 697.9771
Additional depreciation (20%) | No |  | Total units generated over project life | Lac Units | 152.424
Commissioning period | Apr-Sept |  | Project IRR - Post Tax | % | 17.68%
|  |  | Equity IRR - Post Tax | % | 35.8%
Module Degradation |  |  | Levalized cost of generation | Rs / kWh | 3.8853
Year 0 | 0% | % p.a. | *The above analysis is post tax and includes expenses expected to be incurred for operation of the solar project
Year 1 | 0.6% | % p.a.
Year 2-11 | 0.6% | % p.a.
Year 12-25 | 0.6% | % p.a.
AD Benefit
New Tax Applicable | Yes
Depreciation Rate | 40% | % p.a.
Tax Rate | 25.63% | %
Disc. Rate (for NPV) | 12% | %
EB Data
Current Tariff | 7.08 | INR/kWh
EB Tariff Escalation | 2% | % p.a.
Leverage
Debt | 70% | %
Interest rate | 10% | %
Tenure | 10 | years

## Workings (hidden)
Item | Unit | Value (with 40% AD) |  | AD Benefit (Rs.) | [5 empty] | Corporate Depreciation (Rs.) | [5 empty] | Loan Calculator
System Size | kWp | 500 |  |  | Opening Val | Depreciation | WDV-Closing | AD Benefit |  |  | Opening Val | Depreciation | Closing WDV |  |  | Years | Opening Val | EMI | Interest | Principal | Closing | Check
System cost | Rs | 23930803.0368 |  | Year 0 | 21975025.7455 | 8790010.2982 | 13185015.4473 | 2252492.879 |  | Year 0 | 21975025.7455 | 2480980.4067 | 19494045.3388 |  |  | 0 | 0 |  |  |  | 16751562.1258 | 1
Tax benefit of depreciation (in year 0) | Rs |  |  | Year 1 | 13185015.4473 | 5274006.1789 | 7911009.2684 | 1351495.7274 |  | Year 1 | 19494045.3388 | 2200877.7187 | 17293167.62 |  |  | 1 | 16751562.1258 | 2726239.5931 | 1675156.2126 | 1051083.3805 | 15700478.7453 | 1
GST Input Credit | Rs. | 1955777.2913 |  | Year 2 | 7911009.2684 | 3164403.7073 | 4746605.561 | 810897.4364 |  | Year 2 | 17293167.62 | 1952398.6243 | 15340768.9957 |  |  | 2 | 15700478.7453 | 2726239.5931 | 1570047.8745 | 1156191.7185 | 14544287.0268 | 1
Net cost to client | Rs | 21975025.7455 |  | Year 3 | 4746605.561 | 1898642.2244 | 2847963.3366 | 486538.4619 |  | Year 3 | 15340768.9957 | 1731972.8196 | 13608796.1761 |  |  | 3 | 14544287.0268 | 2726239.5931 | 1454428.7027 | 1271810.8904 | 13272476.1364 | 1
AMC cost (For the 1st year) | Rs/year | 325000 |  | Year 4 | 2847963.3366 | 1139185.3346 | 1708778.002 | 291923.0771 |  | Year 4 | 13608796.1761 | 1536433.0883 | 12072363.0878 |  |  | 4 | 13272476.1364 | 2726239.5931 | 1327247.6136 | 1398991.9794 | 11873484.157 | 1
Insurance | Book value | 0.2% |  | Year 5 | 1708778.002 | 683511.2008 | 1025266.8012 | 175153.8463 |  | Year 5 | 12072363.0878 | 1362969.7926 | 10709393.2952 |  |  | 5 | 11873484.157 | 2726239.5931 | 1187348.4157 | 1538891.1774 | 10334592.9796 | 1
Equipment change | p.a. | 1% |  | Year 6 | 1025266.8012 | 410106.7205 | 615160.0807 | 105092.3078 |  | Year 6 | 10709393.2952 | 1209090.503 | 9500302.7922 |  |  | 6 | 10334592.9796 | 2726239.5931 | 1033459.298 | 1692780.2951 | 8641812.6845 | 1
Companies Act depreciation |  | 11.29% |  | Year 7 | 615160.0807 | 246064.0323 | 369096.0484 | 63055.3847 |  | Year 7 | 9500302.7922 | 1072584.1852 | 8427718.607 |  |  | 7 | 8641812.6845 | 2726239.5931 | 864181.2684 | 1862058.3246 | 6779754.3599 | 1
Avg. solar units generated | units / year | 657000 |  | Year 8 | 369096.0484 | 147638.4194 | 221457.6291 | 37833.2308 |  | Year 8 | 8427718.607 | 951489.4307 | 7476229.1762 |  |  | 8 | 6779754.3599 | 2726239.5931 | 677975.436 | 2048264.1571 | 4731490.2028 | 1
Present Power tariff | Rs/ unit | 7.08 |  | Year 9 | 221457.6291 | 88583.0516 | 132874.5774 | 22699.9385 |  | Year 9 | 7476229.1762 | 844066.274 | 6632162.9022 |  |  | 9 | 4731490.2028 | 2726239.5931 | 473149.0203 | 2253090.5728 | 2478399.6301 | 1
Avg. EB tariff increase | % p.a. | 2% |  | Year 10 | 132874.5774 | 53149.831 | 79724.7465 | 13619.9631 |  | Year 10 | 6632162.9022 | 748771.1917 | 5883391.7106 |  |  | 10 | 2478399.6301 | 2726239.5931 | 247839.963 | 2478399.6301 | -1.4435e-08 | 1
Savings in Year 1 (post tax) | Rs. For 1st year | 5096464.8612 |  | Year 11 | 79724.7465 | 31889.8986 | 47834.8479 | 8171.9779 |  | Year 11 | 5883391.7106 | 664234.9241 | 5219156.7864 |  |  | 11 | -1.4435e-08 | 0 | -1.4435e-09 | 1.4435e-09 | -1.5879e-08 | 0
Payback period | Years | 5.1376 |  | Year 12 | 47834.8479 | 19133.9392 | 28700.9087 | 4903.1867 |  | Year 12 | 5219156.7864 | 589242.8012 | 4629913.9853 |  |  | 12 | -1.5879e-08 | 0 | -1.5879e-09 | 1.5879e-09 | -1.7467e-08 | 0
Project life | Years | 25 |  | Year 13 | 28700.9087 | 11480.3635 | 17220.5452 | 2941.912 |  | Year 13 | 4629913.9853 | 522717.2889 | 4107196.6963 |  |  | 13 | -1.7467e-08 | 0 | -1.7467e-09 | 1.7467e-09 | -1.9214e-08 | 0
Inverter life | Years | 5 |  | Year 14 | 17220.5452 | 6888.2181 | 10332.3271 | 1765.1472 |  | Year 14 | 4107196.6963 | 463702.507 | 3643494.1893 |  |  | 14 | -1.9214e-08 | 0 | -1.9214e-09 | 1.9214e-09 | -2.1135e-08 | 0
Net savings over project life | Rs. | 69797713.1671 |  | Year 15 | 10332.3271 | 4132.9309 | 6199.3963 | 1059.0883 |  | Year 15 | 3643494.1893 | 411350.494 | 3232143.6953 |  |  | 15 | -2.1135e-08 | 0 | -2.1135e-09 | 2.1135e-09 | -2.3249e-08 | 0
Total units generated over project life | units | 15242400 |  | Year 16 | 6199.3963 | 2479.7585 | 3719.6378 | 635.453 |  | Year 16 | 3232143.6953 | 364909.0232 | 2867234.6721 |  |  | 16 | -2.3249e-08 | 0 | -2.3249e-09 | 2.3249e-09 | -2.5573e-08 | 0
Cost of Generation (Post Tax) | Rs / unit | 3.8853 |  | Year 17 | 3719.6378 | 1487.8551 | 2231.7827 | 381.2718 |  | Year 17 | 2867234.6721 | 323710.7945 | 2543523.8776 |  |  | 17 | -2.5573e-08 | 0 | -2.5573e-09 | 2.5573e-09 | -2.8131e-08 | 0
Project IRR | % | 17.68% |  | Year 18 | 2231.7827 | 892.7131 | 1339.0696 | 228.7631 |  | Year 18 | 2543523.8776 | 287163.8458 | 2256360.0319 |  |  | 18 | -2.8131e-08 | 0 | -2.8131e-09 | 2.8131e-09 | -3.0944e-08 | 0
Equity IRR | % | 35.8% |  | Year 19 | 1339.0696 | 535.6278 | 803.4418 | 137.2578 |  | Year 19 | 2256360.0319 | 254743.0476 | 2001616.9843 |  |  | 19 | -3.0944e-08 | 0 | -3.0944e-09 | 3.0944e-09 | -3.4038e-08 | 0
|  |  |  | Year 20 | 803.4418 | 321.3767 | 482.0651 | 82.3547 |  | Year 20 | 2001616.9843 | 225982.5575 | 1775634.4267 |  |  | 20 | -3.4038e-08 | 0 | -3.4038e-09 | 3.4038e-09 | -3.7442e-08 | 0
|  |  |  | Year 21 | 482.0651 | 192.826 | 289.239 | 49.4128 |  | Year 21 | 1775634.4267 | 200469.1268 | 1575165.3 |  |  | 21 | -3.7442e-08 | 0 | -3.7442e-09 | 3.7442e-09 | -4.1186e-08 | 0
|  |  |  | Year 22 | 289.239 | 115.6956 | 173.5434 | 29.6477 |  | Year 22 | 1575165.3 | 177836.1624 | 1397329.1376 |  |  | 22 | -4.1186e-08 | 0 | -4.1186e-09 | 4.1186e-09 | -4.5305e-08 | 0
|  |  |  | Year 23 | 173.5434 | 69.4174 | 104.1261 | 17.7886 |  | Year 23 | 1397329.1376 | 157758.4596 | 1239570.678 |  |  | 23 | -4.5305e-08 | 0 | -4.5305e-09 | 4.5305e-09 | -4.9835e-08 | 0
|  |  |  | Year 24 | 104.1261 | 41.6504 | 62.4756 | 10.6732 |  | Year 24 | 1239570.678 | 139947.5295 | 1099623.1484 |  |  | 24 | -4.9835e-08 | 0 | -4.9835e-09 | 4.9835e-09 | -5.4819e-08 | 0
|  |  |  | Year 25 | 62.4756 | 24.9903 | 37.4854 | 6.4039 |  | Year 25 | 1099623.1484 | 124147.4535 | 975475.695 |  |  | 25 | -5.4819e-08 | 0 | -5.4819e-09 | 5.4819e-09 | -6.0301e-08 | 0
|  |  |  | Tax benefit of depreciation (in year 0) |  |  |  | 2252492.879
[7 empty] | OPEX COSTS |  |  | Interest, Depreciation & Tax Benefit | [5 empty] | Equity Returns |  |  |  | Project Details
Year | Degradation | Cum. Degradation | Solar power generation | EB tariff | Grid cost | Grid cost (Post Tax) | AMC | Insurance | Equipment replacement | Interest Cost on Loan | Total Cost incurred | Total Cost - tax benefit | Depreciation tax benefit | GST Benefit | Cost of Solar | Net savings (post tax) | Cum. Net savings | Check | Payback period | Total Cost incurred | Total Cost - tax benefit | Cost of Solar | Net savings (post tax) | Cum. Net savings | Check | Payback period
0 | [14 empty] | 7179240.911 | -7179240.911 | -7179240.911 |  |  |  |  | 23930803.0368 | -23930803.0368 | -23930803.0368
1 | 0% | 0% | 657000 | 7.08 | 4651560 | 3459569.8406 | 325000 | 43950.0515 |  | 1675156.2126 | 2044106.2641 | 523814.4948 | 2252492.879 | 1955777.2913 | -2687978.4011 | 5096464.8612 | -2082776.0498 |  |  | 368950.0515 | 94545.6644 | -3933865.7832 | 7393435.6239 | -16537367.4129
2 | 0.6% | 0.6% | 653058 | 7.2216 | 4716123.6528 | 3507588.67 | 341250 | 38988.0907 |  | 1570047.8745 | 1950285.9652 | 499772.4803 | 1351495.7274 |  | 99017.7575 | 2252379.194 | 169603.1442 | 169603.1442 | 1.9247 | 380238.0907 | 97438.2922 | -1068695.9289 | 4576284.5989 | -11961082.814
3 | 0.6% | 1.2% | 649116 | 7.366 | 4781409.2277 | 3556144.4247 | 358312.5 | 34586.3352 |  | 1454428.7027 | 1847327.5379 | 473388.7656 | 810897.4364 |  | 563041.3359 | 1721292.1983 | 1890895.3425 | 1890895.3425 |  | 392898.8352 | 100682.6839 | -518681.2851 | 4074825.7098 | -7886257.1043
4 | 0.6% | 1.8% | 645174 | 7.5134 | 4847419.7762 | 3605239.374 | 376228.125 | 30681.538 |  | 1327247.6136 | 1734157.2766 | 444388.2071 | 486538.4619 |  | 803230.6077 | 1403016.7869 | 3293912.1294 | 3293912.1294 |  | 406909.663 | 104273.0426 | -183901.8415 | 3789141.2155 | -4097115.8888
5 | 0.6% | 2.4% | 641232 | 7.6636 | 4914158.1829 | 3654875.6635 | 395039.5312 | 27217.5924 |  | 1187348.4157 | 1609605.5393 | 412471.0771 | 291923.0771 |  | 905211.3851 | 1210773.1011 | 4504685.2305 | 4504685.2305 |  | 422257.1236 | 108205.9215 | 22128.125 | 3632747.5385 | -464368.3503
6 | 0.6% | 3% | 637290 | 7.8169 | 4981627.1579 | 3705055.3089 | 414791.5078 | 24144.7262 | 239308.0304 | 1033459.298 | 1711703.5623 | 438634.3081 | 175153.8463 |  | 1097915.408 | 914359.6059 | 5419044.8363 | 5419044.8363 |  | 678244.2644 | 173804.1622 | 329286.2559 | 3375769.053 | 2911400.7028 | 2911400.7028 | 5.1376
7 | 0.6% | 3.6% | 633348 | 7.9732 | 5049829.2287 | 3755780.1899 | 435531.0832 | 21418.7866 | 239308.0304 | 864181.2684 | 1560439.1686 | 399871.8996 | 105092.3078 |  | 1055474.9613 | 838246.904 | 6257291.7403 | 6257291.7403 |  | 696257.9002 | 178420.2645 | 412745.3279 | 3343034.8619 | 6254435.5647 | 6254435.5647
8 | 0.6% | 4.2% | 629406 | 8.1327 | 5118766.7314 | 3807052.0439 | 457307.6374 | 19000.6056 | 239308.0304 | 677975.436 | 1393591.7093 | 357116.2371 | 63055.3847 |  | 973420.0876 | 785367.7992 | 7042659.5396 | 7042659.5396 |  | 715616.2733 | 183380.9637 | 469179.9249 | 3337872.119 | 9592307.6837 | 9592307.6837
9 | 0.6% | 4.8% | 625464 | 8.2953 | 5188441.8026 | 3858872.46 | 480173.0192 | 16855.4372 | 239308.0304 | 473149.0203 | 1209485.5071 | 309937.9181 | 37833.2308 |  | 861714.3582 | 744067.5291 | 7786727.0686 | 7786727.0686 |  | 736336.4868 | 188690.6428 | 509812.6133 | 3349059.8468 | 12941367.5304 | 12941367.5304
10 | 0.6% | 5.4% | 621522 | 8.4613 | 5258856.3699 | 3911242.872 | 504181.6702 | 14952.4584 | 239308.0304 | 247839.963 | 1006282.1219 | 257865.8314 | 22699.9385 |  | 725716.352 | 707126.8899 | 8493853.9586 | 8493853.9586 |  | 758442.1589 | 194355.3539 | 541386.8666 | 3369856.0054 | 16311223.5359 | 16311223.5359
11 | 0.6% | 6% | 617580 | 8.6305 | 5330012.1432 | 3964164.5514 | 529390.7537 | 13264.3258 | 239308.0304 | -1.4435e-09 | 781963.1099 | 200382.7387 | 13619.9631 |  | 567960.4081 | 3396204.1433 | 11890058.1019 | 11890058.1019 |  | 781963.1099 | 200382.7387 | 567960.4081 | 3396204.1433 | 19707427.6792 | 19707427.6792
12 | 0.6% | 6.6% | 613638 | 8.8031 | 5401910.6049 | 4017638.6009 | 555860.2914 | 11766.7834 | 239308.0304 | -1.5879e-09 | 806935.1052 | 206781.9623 | 8171.9779 |  | 591981.165 | 3425657.4359 | 15315715.5378 | 15315715.5378 |  | 806935.1052 | 206781.9623 | 591981.165 | 3425657.4359 | 23133085.1151 | 23133085.1151
13 | 0.6% | 7.2% | 609696 | 8.9792 | 5474553.0002 | 4071665.9466 | 583653.306 | 10438.3136 | 239308.0304 | -1.7467e-09 | 833399.6499 | 213563.6607 | 4903.1867 |  | 614932.8025 | 3456733.1441 | 18772448.6819 | 18772448.6819 |  | 833399.6499 | 213563.6607 | 614932.8025 | 3456733.1441 | 26589818.2592 | 26589818.2592
14 | 0.6% | 7.8% | 605754 | 9.1587 | 5547940.327 | 4126247.3306 | 612835.9713 | 9259.828 | 239308.0304 | -1.9214e-09 | 861403.8296 | 220739.8998 | 2941.912 |  | 637722.0178 | 3488525.3128 | 22260973.9946 | 22260973.9946 |  | 861403.8296 | 220739.8998 | 637722.0178 | 3488525.3128 | 30078343.572 | 30078343.572
15 | 0.6% | 8.4% | 601812 | 9.3419 | 5622073.3258 | 4181383.3036 | 643477.7698 | 8214.3934 | 239308.0304 | -2.1135e-09 | 891000.1936 | 228324.1456 | 1765.1472 |  | 660910.9008 | 3520472.4028 | 25781446.3975 | 25781446.3975 |  | 891000.1936 | 228324.1456 | 660910.9008 | 3520472.4028 | 33598815.9748 | 33598815.9748
16 | 0.6% | 9% | 597870 | 9.5287 | 5696952.4683 | 4237074.2166 | 675651.6583 | 7286.9884 | 239308.0304 | -2.3249e-09 | 922246.6771 | 236331.2445 | 1059.0883 |  | 684856.3443 | 3552217.8723 | 29333664.2698 | 29333664.2698 |  | 922246.6771 | 236331.2445 | 684856.3443 | 3552217.8723 | 37151033.8471 | 37151033.8471
17 | 0.6% | 9.6% | 593928 | 9.7193 | 5772577.9472 | 4293320.2128 | 709434.2412 | 6464.2874 | 239308.0304 | -2.5573e-09 | 955206.559 | 244777.412 | 635.453 |  | 709793.694 | 3583526.5188 | 32917190.7886 | 32917190.7886 |  | 955206.559 | 244777.412 | 709793.694 | 3583526.5188 | 40734560.3659 | 40734560.3659
18 | 0.6% | 10.2% | 589986 | 9.9137 | 5848949.6643 | 4350121.2191 | 744905.9533 | 5734.4693 | 239308.0304 | -2.8131e-09 | 989948.453 | 253680.2308 | 381.2718 |  | 735886.9504 | 3614234.2687 | 36531425.0573 | 36531425.0573 |  | 989948.453 | 253680.2308 | 735886.9504 | 3614234.2687 | 44348794.6346 | 44348794.6346
19 | 0.6% | 10.8% | 586044 | 10.112 | 5926067.2189 | 4407476.9377 | 782151.2509 | 5087.0478 | 239308.0304 | -3.0944e-09 | 1026546.3291 | 263058.6561 | 228.7631 |  | 763258.9099 | 3644218.0278 | 40175643.0851 | 40175643.0851 |  | 1026546.3291 | 263058.6561 | 763258.9099 | 3644218.0278 | 47993012.6624 | 47993012.6624
20 | 0.6% | 11.4% | 582102 | 10.3142 | 6003929.8958 | 4465386.8364 | 821258.8135 | 4512.7201 | 239308.0304 | -3.4038e-09 | 1065079.5639 | 272933.0287 | 137.2578 |  | 792009.2773 | 3673377.5591 | 43849020.6442 | 43849020.6442 |  | 1065079.5639 | 272933.0287 | 792009.2773 | 3673377.5591 | 51666390.2215 | 51666390.2215
21 | 0.6% | 12% | 578160 | 10.5205 | 6082536.6529 | 4523850.1404 | 862321.7542 | 4003.234 | 239308.0304 | -3.7442e-09 | 1105633.0185 | 283325.0948 | 82.3547 |  | 822225.569 | 3701624.5714 | 47550645.2156 | 47550645.2156 |  | 1105633.0185 | 283325.0948 | 822225.569 | 3701624.5714 | 55368014.7929 | 55368014.7929
22 | 0.6% | 12.6% | 574218 | 10.7309 | 6161886.1084 | 4582865.8218 | 905437.8419 | 3551.2689 | 239308.0304 | -4.1186e-09 | 1148297.1411 | 294258.0322 | 49.4128 |  | 853989.6961 | 3728876.1257 | 51279521.3413 | 51279521.3413 |  | 1148297.1411 | 294258.0322 | 853989.6961 | 3728876.1257 | 59096890.9186 | 59096890.9186
23 | 0.6% | 13.2% | 570276 | 10.9455 | 6241976.5273 | 4642432.5903 | 950709.734 | 3150.3306 | 239308.0304 | -4.5305e-09 | 1193168.0949 | 305756.4833 | 29.6477 |  | 887381.9639 | 3755050.6264 | 55034571.9677 | 55034571.9677 |  | 1193168.0949 | 305756.4833 | 887381.9639 | 3755050.6264 | 62851941.545 | 62851941.545
24 | 0.6% | 13.8% | 566334 | 11.1644 | 6322805.8086 | 4702548.8833 | 998245.2207 | 2794.6583 | 239308.0304 | -4.9835e-09 | 1240347.9093 | 317846.5938 | 17.7886 |  | 922483.5268 | 3780065.3565 | 58814637.3242 | 58814637.3242 |  | 1240347.9093 | 317846.5938 | 922483.5268 | 3780065.3565 | 66632006.9015 | 66632006.9015
25 | 0.6% | 14.4% | 562392 | 11.3877 | 6404371.4706 | 4763212.855 | 1048157.4817 | 2479.1414 | 239308.0304 | -5.4819e-09 | 1289944.6534 | 330556.0571 | 10.6732 |  | 959377.9232 | 3803834.9319 | 62618472.2561 | 62618472.2561 |  | 1289944.6534 | 330556.0571 | 959377.9232 | 3803834.9319 | 70435841.8334 | 70435841.8334
Total |  |  | 15242400 |  | 137346735.2936 | [10 empty] | 69797713.1671 | [6 empty] | 94366644.8702
Average Generation |  |  | 609696