## Proposal Inputs
FOURTH PARTNER ENERGY — OPEX (BOOT) Proposal Inputs
Yellow cells = your inputs ¦ Pink = mandatory ¦ Blue = optional ¦ Formulas are fine — the document shows the value exactly as Excel displays it
Key | Field | Your Value | Example | Mandatory | Page
1 · COVER PAGE & EXECUTIVE SUMMARY
PH_001 | Proposed Capacity (kWp) | 499.59 | 600 | MANUAL | 1,2
PH_002 | Installation Technology | Rooftop-Shed | Rooftop - Shed | MANUAL | 1
PH_003 | Estimated Generation (kWh/year) | 687222 | 8,69,211 | MANUAL | 1,4
PH_004 | Guaranteed Generation (kWh/year) | 618499.8 | 7,82,290 | MANUAL | 4
PH_005 | % Consumption Replaced |  | ~17% | MANUAL | 4
PH_006 | Net Metering (Yes/No) | Yes | Yes | MANUAL | 4
PH_007 | Key Components — Modules | Renewsys 585+ Wp | Renewsys 595 Wp | MANUAL | 4
PH_008 | Key Components — Inverters | Solis | Solis | MANUAL | 4
PH_009 | Project Timeline | 4 + 1 Months | 4–5 months | MANUAL | 4
PH_010 | Exclusions (Exec summary) | Spare feeder , Internet connectivity | Spare feeder; Net meter infra; Internet connectivity | MANUAL | 4
PH_011 | Commercial — Variable Grid Rate (₹/kWh) | 7.5 | 8.50 | MANUAL | 4
PH_012 | Commercial — Proposed Solar Tariff (₹/kWh) | 5.49 | 6.15 | MANUAL | 4
PH_013 | Commercial — % Savings (1st Year) | 26.8% | ~28% | MANUAL | 4
PH_014 | Commercial — % Grid Consumption Replaced |  | ~17% | MANUAL | 4
PH_015 | Commercial — CO₂ Reduction (Tons/year) | 666.837 | 816 | AUTOMATIC | 4
PH_016 | Proposal Submitted by | Carl Aaron ¦ carl.aaron@fourthpartner.co ¦ +91- 9551062519 | Carl Aaron | Optional | 4
PH_017 | Proposal Submitted on | 10th August 2026 | 31st Jul 2025 | AUTOMATIC | 4
PH_018 | Proposal Validity | 15 days | 15 days | Optional | 4
2 · SITE DETAILS (1.1 Customer & 1.2 Site)
PH_019 | Customer Name | L&T TLT Galvanizing plant | IFGL Refractories Ltd. | MANUAL | 1,5,13
PH_020 | Customer Address (short) | Neervalur, Tamil Nadu | Kandla, Gujarat | MANUAL | 1,5,13
PH_021 | Contact Person | Mr. Anish | Mr. A. Sharma | MANUAL | 5
PH_022 | Mobile | +91-9645949625 | +91-98XXXXXXXX | MANUAL | 5
PH_023 | Email | ANISH-S@lntecc.com | name@company.com | MANUAL | 5
PH_024 | Site Address (full) | WR22+9R8, Neervalur, Tamil Nadu 631561 | Kandla, Gujarat | MANUAL | 5
PH_025 | Latitude | 12.9008 | 23.0339 | MANUAL | 5
PH_026 | Longitude | 79.8021 | 70.2167 | MANUAL | 5
PH_027 | Type of Installation | Rooftop - Shed | Rooftop - Shed | MANUAL | 5
PH_028 | Type of Roofs | Metal Sheet | Metal Sheet | MANUAL | 5
PH_029 | Availability of Water | Yes | Yes | Optional | 5
PH_030 | Shading | Shadow-free | Shadow-free | Optional | 5
PH_031 | Site GMap Image Path |  | C:\Proposals\site.png | Optional | 5
3 · CAPACITY ASSESSMENT (2.1)
PH_032 | Capacity — Shadow-free area: kWp | 499.59 kWp | 620 | Yes | 6
PH_033 | Capacity — Shadow-free area: Notes | Usable shadow-free roof area | Usable shadow-free roof area | Optional | 6
PH_034 | Capacity — Electricity consumption: kWp | 499.59 kWp | 600 | Yes | 6
PH_035 | Capacity — Electricity consumption: Notes | Required from Annual Consumption | ~17% of annual consumption | Optional | 6
PH_036 | Capacity — State regulatory limit: kWp | 999 kWp | No limit | Optional | 6
PH_037 | Capacity — State regulatory limit: Notes | Net metering norms | Net metering norms | Optional | 6
PH_038 | Capacity — Proposed Capacity: kWp | 499.59 kWp | 600 | Yes | 6
PH_039 | Capacity — Proposed Capacity: Notes | Final proposed plant size | Final proposed plant size | Optional | 6
4 · PLANT LAYOUT (2.2)
PH_040 | Plant Layout — Type of Installation | Rooftop - Shed | Rooftop - Shed | Yes | 6-8
PH_041 | Plant Layout — Type of Mounting | Rooftop mounting | Metal sheet roof mounting | Yes | 6-8
PH_042 | Plant Layout — Power Evacuation | LT side, synchronised with grid | LT side, synchronised with grid | Yes | 6-8
PH_043 | Rooftop · Row1 — Shed/Building | BAY 1+2 | Shed A | Optional | 6-8
PH_044 | Rooftop · Row1 — Capacity (kWp) | 499.59 | 300 | Optional | 6-8
PH_045 | Rooftop · Row1 — Tilt | 5° | 10° | Optional | 6-8
PH_046 | Rooftop · Row1 — Azimuth | - | 180° | Optional | 6-8
PH_047 | Rooftop · Row1 — Walkways/Lifeline | Yes | Yes | Optional | 6-8
PH_048 | Rooftop · Row2 — Shed/Building |  | Shed B | Optional | 6-8
PH_049 | Rooftop · Row2 — Capacity (kWp) |  | 300 | Optional | 6-8
PH_050 | Rooftop · Row2 — Tilt |  | 10° | Optional | 6-8
PH_051 | Rooftop · Row2 — Azimuth |  | 180° | Optional | 6-8
PH_052 | Rooftop · Row2 — Walkways/Lifeline |  | Yes | Optional | 6-8
PH_053 | Rooftop · Total Capacity (kWp) | 499.59 kWp | 600 | Optional | 6-8
PH_054 | Shed · Row1 — Shed/Building |  | Shed A | Optional | 6-8
PH_055 | Shed · Row1 — Capacity (kWp) |  | 300 | Optional | 6-8
PH_056 | Shed · Row1 — Tilt |  | 10° | Optional | 6-8
PH_057 | Shed · Row1 — Azimuth |  | 180° | Optional | 6-8
PH_058 | Shed · Row1 — Walkways/Lifeline/Railings |  | Yes | Optional | 6-8
PH_059 | Shed · Row2 — Shed/Building |  | Shed B | Optional | 6-8
PH_060 | Shed · Row2 — Capacity (kWp) |  | 300 | Optional | 6-8
PH_061 | Shed · Row2 — Tilt |  | 10° | Optional | 6-8
PH_062 | Shed · Row2 — Azimuth |  | 180° | Optional | 6-8
PH_063 | Shed · Row2 — Walkways/Lifeline/Railings |  | Yes | Optional | 6-8
PH_064 | Shed · Total Capacity (kWp) | 0 kWp | 600 | Optional | 6-8
5 · ESTIMATED GENERATION (2.3)
PH_065 | Gen — Type of System | Grid Tied - Net Metering | Grid-tied rooftop solar | MANUAL | 9
PH_066 | Gen — Estimated Generation (kWh/year) | 687222 | 8,69,211 | Yes | 9
PH_067 | Gen — Degradation | 2.5% Yr-1, 0.7% p.a. thereafter | 2.5% Yr-1, 0.7% p.a. thereafter | Optional | 9
PH_068 | Gen — Guaranteed Generation (kWh/year) | 618499.8 | 7,82,290 | Yes | 9
PH_069 | Gen — Plant Life (Years) | 20 | 25 | MANUAL | 9
PH_070 | Gen — Irradiation (kWh/m²/yr) | 1937.5 | 1,850 | MANUAL | 9
6 · BILL OF MATERIAL (2.4) — Specifications
PH_071 | BOM · PV Module — Type |  | Monocrystalline PERC | Yes | 10-11
PH_072 | BOM · PV Module — Make / Model |  | Renewsys 595 Wp | Yes | 10-11
PH_073 | BOM · PV Module — Efficiency |  | 21.3% | Optional | 10-11
PH_074 | BOM · Inverter — Type |  | String inverter | Yes | 10-11
PH_075 | BOM · Inverter — Env. Class / Location |  | IP66, outdoor | Optional | 10-11
PH_076 | BOM · Inverter — Make / Model |  | Solis | Yes | 10-11
PH_077 | BOM · Mounting Structure — Type |  | Galvanised steel | Yes | 10-11
PH_078 | BOM · Mounting Structure — Make |  | Standard GI | Optional | 10-11
PH_079 | BOM · DC Cable — Make / Size |  | Polycab, 4/6 sq.mm | Optional | 10-11
PH_080 | BOM · AC Cable — Make / Size |  | Polycab, as per design | Optional | 10-11
PH_081 | BOM · Cable Tray — Type / Size |  | GI perforated | Optional | 10-11
PH_082 | BOM · LT Switchgear — Type/Make/Rating |  | ABB/Schneider, as per design | Optional | 10-11
PH_083 | BOM · Spare Feeder — Type/Make/Rating |  | As per design | Optional | 10-11
PH_084 | BOM · Energy Meter + ACCB — Make/Class |  | Class 0.5S | Optional | 10-11
PH_085 | BOM · Lightning Arrestor — Type/Make |  | ESE type | Optional | 10-11
PH_086 | BOM · Earthing Kit — Make/Specs |  | Chemical earthing | Optional | 10-11
PH_087 | BOM · Lifeline — Make |  | SS lifeline | Optional | 10-11
PH_088 | BOM · Walkways — Type/Size |  | GI walkway | Optional | 10-11
PH_089 | BOM · Mesh over Skylights — Make/Specs |  | GI mesh | Optional | 10-11
PH_090 | BOM · Railings over Roof — Make/Specs |  | GI railing | Optional | 10-11
PH_091 | BOM · Ladder — Make/Specs |  | GI cage ladder | Optional | 10-11
PH_092 | BOM · Remote Monitoring System — Make/Specs |  | Solis RMS | Optional | 10-11
PH_093 | BOM · Irradiation Sensor — Make/Specs |  | Pyranometer | Optional | 10-11
PH_094 | BOM · Ambient Temp. Sensor — Make/Specs |  | RTD sensor | Optional | 10-11
PH_095 | BOM · Module Cleaning (Manual) — Make |  | Manual cleaning kit | Optional | 10-11
PH_096 | BOM · Water Pump/Tank/Meter — Make |  | As per site | Optional | 10-11
PH_097 | BOM · Net Metering Hardware — Make/Class |  | Class 0.5S, ABT meter | Optional | 10-11
PH_098 | BOM · Zero Feed in Device — Make/Class |  | As per design | Optional | 10-11
PH_099 | BOM · DG Synchronization — Make/Class |  | As per design | Optional | 10-11
7 · PROJECT SCHEDULE (2.6)
PH_100 | Schedule — Delivery & Installation (months) | 4 + 1 Months | 4–5 | AUTOMATIC | 12
8 · COMMERCIAL OFFER (3.0) — OPEX / BOOT
PH_101 | Offtaker — Legal Name | L&T TLT Galvanizing plant | IFGL Refractories Ltd. | AUTOMATIC | 13
PH_102 | Offtaker — Registered Office | Neervalur, Tamil Nadu | Kandla, Gujarat | AUTOMATIC | 13
PH_103 | Contract Term (Years) | 20 | 15 | AUTOMATIC | 13
PH_104 | Lock-in Period (Years) | 5 | 5 | AUTOMATIC | 15
9 · PROPOSED SOLAR TARIFF (3.1) — OPEX
PH_105 | Tariff — Period | 20 Years | 15 years | AUTOMATIC | 13
PH_106 | Tariff — Rate (Rs/kWh) | 5.49 | 6.15 | AUTOMATIC | 13
PH_107 | Tariff — Type (Flat/Escalated) | FLAT | FLAT | Optional | 13
PH_108 | USD–INR Exchange Rate Assumption | 95.22 | 95.74 | MANUAL | 13
10 · ESTIMATED COST SAVINGS (3.2) — OPEX
PH_109 | Savings — Variable Grid Rate (₹/kWh) | 7.5 | 8.50 | AUTOMATIC | 14
PH_110 | Savings — Proposed Solar Tariff (₹/kWh) | 5.49 | 6.15 | AUTOMATIC | 14
PH_111 | Savings — Landed Cost of Solar Power (₹/kWh) |  | 6.15 | Optional | 14
PH_112 | Savings — Per Unit Savings (₹/kWh) | 2.01 | 2.35 | AUTOMATIC | 14
PH_113 | Savings — Estimated Annual Generation Yr1 (kWh) | 687222 | 8,69,211 | AUTOMATIC | 14
PH_114 | Savings — 1st Yr Savings (₹) | 1381316.22 | 20,42,646 | AUTOMATIC | 14
PH_115 | Savings — Total Savings over PPA Term (₹) | 27626324.4 | 3,68,00,000 | AUTOMATIC | 14
PH_116 | Savings — Total Savings in words | Rupees Two Crore Seventy Six Lakh Twenty Six Thousand Three Hundred Twenty Four. | Rupees Three Crore Sixty-Eight Lakh Only | MANUAL | 14
11 · ENVIRONMENTAL IMPACT (5.0)
PH_117 | Env · CO₂ Reduction (Tonnes/year) | 666.837 | 816 | AUTOMATIC | 18
12 · COVER — PROJECT SNAPSHOT (capacity uses PH_001)
PH_118 | Cover · Est. Generation (kWh/yr) | 6.87 L | 18.6 L | AUTOMATIC | 2
PH_119 | Cover · Consumption Replaced |  | 42% | Optional | 2
PH_120 | Cover · Estimated Savings / yr | ₹ 13.8 L | ₹1.24 Cr | AUTOMATIC | 2
PH_121 | Cover · CO₂ Reduction / yr | 667 t | 1,480 t | AUTOMATIC | 2
PH_122 | Cover · Project Timeline | 4 + 1 Months | 4 months | AUTOMATIC | 2
13 · COVER — ENVIRONMENTAL IMPACT CARDS - UPDATE THE YIELD IN ENVIRONMENTAL SHEET
PH_123 | Cover Env · Coal Saved (tons) | 323.1066 | 1,480 | AUTOMATIC | 2
PH_124 | Cover Env · Water Savings (M litres) | 1581159.8849 | 2.1 | AUTOMATIC | 2
PH_125 | Cover Env · Trees Planted | 30627.5453 | 24,300 | AUTOMATIC | 2
14 · TERMINATION CHARGES (3.4) — UPDATE THE BUYOUT SHEET
PH_130 | Termination Charge · Year 1 (₹/kWp) | 42393.7416 | 40,348 | AUTOMATIC | 16
PH_131 | Termination Charge · Year 2 (₹/kWp) | 41703.6599 | 38,835 | AUTOMATIC | 16
PH_132 | Termination Charge · Year 3 (₹/kWp) | 40914.5474 | 37,180 | AUTOMATIC | 16
PH_133 | Termination Charge · Year 4 (₹/kWp) | 40017.2185 |  | AUTOMATIC | 16
PH_134 | Termination Charge · Year 5 (₹/kWp) | 39001.2967 |  | AUTOMATIC | 16
PH_135 | Termination Charge · Year 6 (₹/kWp) | 37855.0597 |  | AUTOMATIC | 16
PH_136 | Termination Charge · Year 7 (₹/kWp) | 36565.2631 |  | AUTOMATIC | 16
PH_137 | Termination Charge · Year 8 (₹/kWp) | 35116.9431 |  | AUTOMATIC | 16
PH_138 | Termination Charge · Year 9 (₹/kWp) | 33493.1919 |  | AUTOMATIC | 16
PH_139 | Termination Charge · Year 10 (₹/kWp) | 31674.9053 |  | AUTOMATIC | 16
PH_140 | Termination Charge · Year 11 (₹/kWp) | 30070.4266 |  | AUTOMATIC | 16
PH_141 | Termination Charge · Year 12 (₹/kWp) | 28304.2096 |  | AUTOMATIC | 16
PH_142 | Termination Charge · Year 13 (₹/kWp) | 26358.2232 |  | AUTOMATIC | 16
PH_143 | Termination Charge · Year 14 (₹/kWp) | 24793.6048 |  | AUTOMATIC | 16
PH_144 | Termination Charge · Year 15 (₹/kWp) | 21424.1078 | 0 | AUTOMATIC | 16
PH_145 | Termination Charge · Year 16 (₹/kWp) | 17869.764 |  | AUTOMATIC | 16
PH_146 | Termination Charge · Year 17 (₹/kWp) | 13988.9408 |  | AUTOMATIC | 16
PH_147 | Termination Charge · Year 18 (₹/kWp) | 9745.0611 |  | AUTOMATIC | 16
PH_148 | Termination Charge · Year 19 (₹/kWp) | 5097.1323 |  | AUTOMATIC | 16
PH_149 | Termination Charge · Year 20 (₹/kWp) | 4.5475e-10 |  | AUTOMATIC | 16
PH_150 | Termination Charge · Year 21 (₹/kWp) | 5.0974e-10 |  | AUTOMATIC | 16
PH_151 | Termination Charge · Year 22 (₹/kWp) | 5.7138e-10 |  | AUTOMATIC | 16
PH_152 | Termination Charge · Year 23 (₹/kWp) | 6.4047e-10 |  | AUTOMATIC | 16
PH_153 | Termination Charge · Year 24 (₹/kWp) | 7.1792e-10 |  | AUTOMATIC | 16
PH_154 | Termination Charge · Year 25 (₹/kWp) | 8.0474e-10 |  | AUTOMATIC | 16
15 · ENVIRONMENTAL IMPACT PAGE (5.0 — 2x2 grid on image)
PH_126 | Env Page · Coal Conserved (top-left) | 323.1066 | 4,141 | AUTOMATIC | 18
PH_127 | Env Page · Trees Planted (top-right) | 666.837 | 4,141 | AUTOMATIC | 18
PH_128 | Env Page · Water Saved (bottom-left) | 1581159.8849 | 321 | AUTOMATIC | 18
PH_129 | Env Page · CO₂ Emission Reduced (bottom-right) | 30627.5453 | 32,100 | AUTOMATIC | 18

## Environmental Benefits
Environmental Impact Cumulative Impact
Emmission Data (kg/kWh) consumed / emmitted
Coal* | 0.47 | kg/kWh
Cox* | 0.97 | kg/kWh
Sox** | 0.007 | kg/kWh
Nox** | 0.0043 | kg/kWh
Water*** | 2.3 | L/kWh
CO2 absorption by trees**** | 21.7725 | kgs / tree year
Total Capacity Installed | 499.59 | KWp
P50 Value - KWH/kWp per day | 3.77 | KWH/kWp per day
Estimated Generation | 687460.8195 | KWH
Average CUF | 15.71% | %
Average reduction when compared to a coal powered plant (Tons / Year)
System | Coal | Sulphur oxides | Nitrogen oxides | Carbon oxides | Water (Litres)
Option | 323.1066 | 4.8122 | 2.9561 | 666.837 | 1581159.8849
Carbon offset expressed as number of mature trees planted | 30627.5453
*https://www.eia.gov
**https://www3.epa.gov/ttnchie1/conference/ei20/session5/mmittal.pdf
***http://breakingenergy.com/2014/03/24/infographic-water-used-by-power-plants/
****http://www.arborenvironmentalalliance.com/carbon-tree-facts.asp

## Buyout values
Distributed Opex Portfolio - Buyout values
Input data
| Project Life |  |  | 20 |  | Other Standard assumptions - not to be changed |  |  |  | Debt assumptions
| SD / Group Captive Contribution (INR/ Mwp) |  |  | 0 |  | PR Ratio | 76% |  |  | Loan amount | 70%
| Tariff (Generation busbar) (INR/kwh) |  |  | 5.49 |  | Degradation | 0.67% |  |  | Interest rate | 9.3%
| Escalation |  |  | 0% |  | Bad debts | 2% |  |  | Tenor | 15
| Generation Yield Year 1 |  |  | 3.55 |  | Insurance cost | 0.25%
| Irradiation Year 1 |  |  | 1704.9342 |  | Tax Rate | 17.47% |  |  | Type of project | Capacity | Cost
[6 empty] | IT on sale | 34% |  |  | Small | <250kwp | 400
| Capacity (kWp) |  |  | 499.59 |  | Depreciation as co. act | 5% |  |  | Medium | 250kwp-1MWp | 350
| EPC and Infra (Rs./Wp) |  |  | 30.54 |  | Depreciation as per IT Act | 40% |  |  | Large | >1MWp | 250
| Land cost |  |  | 0 |  | Additional Depreciation | 20%
| GST @8.9% (Rs./Wp) |  |  | 12.08 |  | O&M | Medium
| Total EPC/Wp (DC) |  |  | 42.62 |  | Base* (Rs/kWp/annum) | 447.22
| Financing cost |  |  | 0.37292 |  | Escalation (% p.a.) | 5%
| Total Project cost/Wp (DC) |  |  | 42.9929 |  | Project ROI | 12.09%
| Total cost |  |  | 21478835.4008 | [14 empty] | 897.3289
| PROJECT CASHFLOWS | [17 empty] | 0.021167 | [9 empty] | Debt
Year | PR Ratio | Generation | Tenure Check | Tariff | Revenues | O&M Expenses | Insurance | Equipment change | EBITDA | Tax | Cashflow | Opening Bal | Capital Cost | Cashflow | Closing balance | IT on Sale | Sale Value | Termination value/ kWp (end year) |  | Net income as per IT Act | Cummulative losses | Tax as per IT | Opening Balance (INR) | Depreciation (Cos Act) | Closing Balance | Opening balance - book value | Depreciation (IT Act) | Closing Balance - book value | Opening balance | Interest | EMI | Closing balance
[9 empty] | -21478835.4008 |  | -21478835.4008 |  |  |  | 21478835.4008 |  | 21478835.4008 | [5 empty] | 21478835.4008 | 0 | 21478835.4008 | 21478835.4008 | 0 | 21478835.4008
1 | 76% | 647343.7425 | 1 | 5.49 | 3482838.8034 | 223426.6398 | 53697.0885 | 0 | 3205715.0751 | 0 | 3205715.0751 | 21478835.4008 | 2597364.3511 | 3205715.0751 | 20870484.6768 | 309004.7031 | 21179489.3799 | 42393.7416 | 37094523.9244 | -11679117.8576 | -11679117.8576 | 0 | 21478835.4008 | 1073941.77 | 20404893.6307 | 21478835.4008 | 12887301.2404 | 8591534.1603 | 21478835.4008 | 1997531.6923 | -2712009.5748 | 20764357.5183
2 | 75.49% | 643006.5394 | 1 | 5.49 | 3459503.7834 | 234597.9718 | 51012.2341 | 0 | 3173893.5775 | 0 | 3173893.5775 | 20870484.6768 | 2523798.5151 | 3173893.5775 | 20220389.6144 | 614341.84 | 20834731.4544 | 41703.6599 | 36490702.4212 | -2193805.3358 | -13872923.1934 | 0 | 20404893.6307 | 1073941.77 | 19330951.8607 | 8591534.1603 | 3436613.6641 | 5154920.4962 | 20764357.5183 | 1931085.2492 | -2712009.5748 | 19983433.1927
3 | 74.99% | 638698.3956 | 1 | 5.49 | 3436325.1081 | 246327.8704 | 48327.3797 | 0 | 3141669.858 | 0 | 3141669.858 | 20220389.6144 | 2445184.6746 | 3141669.858 | 19523904.431 | 916594.3125 | 20440498.7434 | 40914.5474 | 35800228.9888 | -778757.6274 | -14651680.8208 | 0 | 19330951.8607 | 1073941.77 | 18257010.0906 | 5154920.4962 | 2061968.1985 | 3092952.2977 | 19983433.1927 | 1858459.2869 | -2712009.5748 | 19129882.9049
4 | 74.48% | 634419.1164 | 1 | 5.49 | 3413301.7298 | 258644.2639 | 45642.5252 | 0 | 3109014.9407 | 0 | 3109014.9407 | 19523904.431 | 2360961.0306 | 3109014.9407 | 18775850.5208 | 1216351.6655 | 19992202.1863 | 40017.2185 | 35015066.1803 | 92754.9115 | -14558925.9093 | 0 | 18257010.0906 | 1073941.77 | 17183068.3206 | 3092952.2977 | 1237180.9191 | 1855771.3786 | 19129882.9049 | 1779079.1102 | -2712009.5748 | 18196952.4403
5 | 73.98% | 630168.5083 | 1 | 5.49 | 3390432.6083 | 271576.4771 | 42957.6708 | 0 | 3075898.4604 | 0 | 3075898.4604 | 18775850.5208 | 2270501.3515 | 3075898.4604 | 17970453.412 | 1514204.4281 | 19484657.84 | 39001.2967 | 34126134.6505 | 641273.332 | -13917652.5773 | 0 | 17183068.3206 | 1073941.77 | 16109126.5506 | 1855771.3786 | 742308.5514 | 1113462.8272 | 18196952.4403 | 1692316.5769 | -2712009.5748 | 17177259.4425
6 | 73.49% | 625946.3793 | 1 | 5.49 | 3367716.7098 | 285155.3009 | 40272.8164 | 0 | 3042288.5925 | 0 | 3042288.5925 | 17970453.412 | 2173107.3494 | 3042288.5925 | 17101272.1689 | 1810737.0875 | 18912009.2564 | 37855.0597 | 33123177.2041 | 999418.3334 | -12918234.2439 | 0 | 16109126.5506 | 1073941.77 | 15035184.7805 | 1113462.8272 | 445385.1309 | 668077.6963 | 17177259.4425 | 1597485.1282 | -2712009.5748 | 16062734.9959
7 | 73% | 621752.5385 | 1 | 5.49 | 3345153.0078 | 299413.066 | 37587.962 | 0 | 3008151.9799 | 0 | 3008151.9799 | 17101272.1689 | 2068000.1435 | 3008151.9799 | 16161120.3325 | 2106519.4636 | 18267639.7961 | 36565.2631 | 31994605.2195 | 1247086.5467 | -11671147.6971 | 0 | 15035184.7805 | 1073941.77 | 13961243.0105 | 668077.6963 | 267231.0785 | 400846.6178 | 16062734.9959 | 1493834.3546 | -2712009.5748 | 14844559.7758
8 | 72.51% | 617586.7965 | 1 | 5.49 | 3322740.4827 | 314383.7193 | 34903.1075 | 0 | 2973453.6558 | 0 | 2973453.6558 | 16161120.3325 | 1954310.699 | 2973453.6558 | 15141977.3757 | 2402096.2175 | 17544073.5932 | 35116.9431 | 30727325.1948 | 1432570.9496 | -10238576.7476 | 0 | 13961243.0105 | 1073941.77 | 12887301.2405 | 400846.6178 | 160338.6471 | 240507.9707 | 14844559.7758 | 1380544.0591 | -2712009.5748 | 13513094.2602
9 | 72.02% | 613448.965 | 1 | 5.49 | 3300478.1214 | 330102.9053 | 32218.2531 | 0 | 2938156.9631 | 0 | 2938156.9631 | 15141977.3757 | 1831069.1203 | 2938156.9631 | 14034889.5329 | 2697974.1878 | 16732863.7207 | 33493.1919 | 29306542.8763 | 1585236.0086 | -8653340.7389 | 0 | 12887301.2405 | 1073941.77 | 11813359.4704 | 240507.9707 | 96203.1883 | 144304.7824 | 13513094.2602 | 1256717.7662 | -2712009.5748 | 12057802.4516
10 | 71.54% | 609338.8569 | 1 | 5.49 | 3278364.918 | 346608.0505 | 29533.3987 | 0 | 2902223.4688 | 0 | 2902223.4688 | 14034889.5329 | 1697192.658 | 2902223.4688 | 12829858.7221 | 2994607.2032 | 15824465.9253 | 31674.9053 | 27715542.1139 | 1723125.9279 | -6930214.8111 | 0 | 11813359.4704 | 1073941.77 | 10739417.7004 | 144304.7824 | 57721.913 | 86582.8694 | 12057802.4516 | 1121375.628 | -2712009.5748 | 10467168.5048
11 | 71.06% | 605256.2866 | 1 | 5.49 | 3256399.8731 | 363938.453 | 26848.5443 | 214788.354 | 2650824.5218 | 0 | 2650824.5218 | 12829858.7221 | 1551472.2774 | 2650824.5218 | 11730506.4777 | 3292377.9702 | 15022884.4479 | 30070.4266 | 26311623.315 | 1642744.703 | -5287470.108 | 0 | 10739417.7004 | 1073941.77 | 9665475.9303 | 86582.8694 | 34633.1478 | 51949.7217 | 10467168.5048 | 973446.671 | -2712009.5748 | 8728605.601
12 | 70.58% | 601201.0695 | 1 | 5.49 | 3234581.9939 | 382135.3757 | 24163.6898 | 214788.354 | 2613494.5744 | 0 | 2613494.5744 | 11730506.4777 | 1418531.2554 | 2613494.5744 | 10535543.1588 | 3604956.9365 | 14140500.0953 | 28304.2096 | 24766183.4371 | 1780954.3648 | -3506515.7432 | 0 | 9665475.9303 | 1073941.77 | 8591534.1603 | 51949.7217 | 20779.8887 | 31169.833 | 8728605.601 | 811760.3209 | -2712009.5748 | 6828356.3472
13 | 70.11% | 597173.0223 | 1 | 5.49 | 3212910.2946 | 401242.1445 | 21478.8354 | 214788.354 | 2575400.9607 | 0 | 2575400.9607 | 10535543.1588 | 1274028.3032 | 2575400.9607 | 9234170.5013 | 3934134.2022 | 13168304.7036 | 26358.2232 | 23063445.2563 | 1927895.8872 | -1578619.856 | 0 | 8591534.1603 | 1073941.77 | 7517592.3903 | 31169.833 | 12467.9332 | 18701.8998 | 6828356.3472 | 635037.1403 | -2712009.5748 | 4751383.9127
14 | 69.64% | 593171.963 | 1 | 5.49 | 3191383.7956 | 421304.2517 | 18793.981 | 214788.354 | 2536497.2089 | 364664.7068 | 2171832.5021 | 9234170.5013 | 1116657.6225 | 2171832.5021 | 8178995.6218 | 4207641.3998 | 12386637.0215 | 24793.6048 | 21694404.1991 | 2087137.7451 | 0 | 364664.7068 | 7517592.3903 | 1073941.77 | 6443650.6202 | 18701.8998 | 7480.7599 | 11221.1399 | 4751383.9127 | 441878.7039 | -2712009.5748 | 2481253.0419
15 | 69.17% | 589197.7109 | 1 | 5.49 | 3170001.5242 | 442369.4643 | 16109.1266 | 214788.354 | 2496734.5793 | 395127.4612 | 2101607.1181 | 8178995.6218 | 989058.8228 | 2101607.1181 | 7066447.3265 | 3636822.6946 | 10703270.0211 | 21424.1078 | 18746094.3343 | 2261489.5905 | 0 | 395127.4612 | 6443650.6202 | 1073941.77 | 5369708.8502 | 11221.1399 | 4488.456 | 6732.6839 | 2481253.0419 | 230756.5329 | -2712009.5748 | 0
16 | 68.71% | 585250.0862 | 1 | 5.49 | 3148762.5139 | 464487.9375 | 13424.2721 | 214788.354 | 2456061.9503 | 428652.6101 | 2027409.3402 | 7066447.3265 | 854522.0461 | 2027409.3402 | 5893560.0324 | 3033995.369 | 8927555.4014 | 17869.764 | 15636043.5081 | 2453368.8767 | 0 | 428652.6101 | 5369708.8502 | 1073941.77 | 4295767.0802 | 6732.6839 | 2693.0736 | 4039.6104 | 0 | 0 | 0 | 0
17 | 68.25% | 581328.9107 | 1 | 5.49 | 3127665.8051 | 487712.3344 | 10739.4177 | 214788.354 | 2414425.699 | 421566.1378 | 1992859.5612 | 5893560.0324 | 712688.6744 | 1992859.5612 | 4613389.1457 | 2375345.8015 | 6988734.9472 | 13988.9408 | 12240323.2227 | 2412809.8549 | 0 | 421566.1378 | 4295767.0802 | 1073941.77 | 3221825.3101 | 4039.6104 | 1615.8441 | 2423.7662 | 0 | 0 | 0 | 0
18 | 67.79% | 577434.007 | 1 | 5.49 | 3106710.4442 | 512097.9511 | 8054.5633 | 214788.354 | 2371769.5758 | 414226.1881 | 1957543.3877 | 4613389.1457 | 557881.8535 | 1957543.3877 | 3213727.6115 | 1654807.4842 | 4868535.0957 | 9745.0611 | 8526928.4989 | 2370800.0693 | 0 | 414226.1881 | 3221825.3101 | 1073941.77 | 2147883.5401 | 2423.7662 | 969.5065 | 1454.2597 | 0 | 0 | 0 | 0
19 | 67.34% | 573565.1991 | 1 | 5.49 | 3085895.4842 | 537702.8487 | 5369.7089 | 214788.354 | 2328034.5727 | 406652.5652 | 1921382.0075 | 3213727.6115 | 388625.4248 | 1921382.0075 | 1680971.0289 | 865505.274 | 2546476.3028 | 5097.1323 | 4459990.7224 | 2327452.8688 | 0 | 406652.5652 | 2147883.5401 | 1073941.77 | 1073941.77 | 1454.2597 | 581.7039 | 872.5558 | 0 | 0 | 0 | 0
20 | 66.89% | 569722.3123 | 1 | 5.49 | 3065219.9845 | 564587.9911 | 2684.8544 | 214788.354 | 2283158.785 | 398913.5029 | 1884245.2821 | 1680971.0289 | 203274.2532 | 1884245.2821 | 1.4994e-07 | 7.7243e-08 | 2.2719e-07 | 4.5475e-10 | 3.979e-07 | 2283158.785 | 0 | 398913.5029 | 1073941.77 | 1073941.77 | 4.191e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 66.44% | 565905.1728 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4994e-07 | 1.8132e-08 | 0 | 1.6808e-07 | 8.6584e-08 | 2.5466e-07 | 5.0974e-10 | 4.4602e-07 | 0 | 0 | 0 | 4.191e-09 | 0 | 4.191e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 65.99% | 562113.6081 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6808e-07 | 2.0325e-08 | 0 | 1.884e-07 | 9.7054e-08 | 2.8545e-07 | 5.7138e-10 | 4.9995e-07 | 0 | 0 | 0 | 4.191e-09 | 0 | 4.191e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 65.55% | 558347.4469 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.884e-07 | 2.2783e-08 | 0 | 2.1118e-07 | 1.0879e-07 | 3.1997e-07 | 6.4047e-10 | 5.6041e-07 | 0 | 0 | 0 | 4.191e-09 | 0 | 4.191e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 65.11% | 554606.5191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1118e-07 | 2.5538e-08 | 0 | 2.3672e-07 | 1.2195e-07 | 3.5867e-07 | 7.1792e-10 | 6.2818e-07 | 0 | 0 | 0 | 4.191e-09 | 0 | 4.191e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 64.68% | 550890.6554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3672e-07 | 2.8626e-08 | 0 | 2.6535e-07 | 1.3669e-07 | 4.0204e-07 | 8.0474e-10 | 7.0415e-07 | 0 | 0 | 0 | 4.191e-09 | 0 | 4.191e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[33 empty] | Year | Termination value/ kWp (end year)
[33 empty] | 1 | 42393.7416 | Lock In Period
[33 empty] | 2 | 41703.6599
[33 empty] | 3 | 40914.5474
[33 empty] | 4 | 40017.2185
[33 empty] | 5 | 39001.2967
[33 empty] | 6 | 37855.0597
[33 empty] | 7 | 36565.2631
[33 empty] | 8 | 35116.9431
[33 empty] | 9 | 33493.1919
[33 empty] | 10 | 31674.9053
[33 empty] | 11 | 30070.4266
[33 empty] | 12 | 28304.2096
[33 empty] | 13 | 26358.2232
[33 empty] | 14 | 24793.6048
[33 empty] | 15 | 21424.1078
[33 empty] | 16 | 17869.764
[33 empty] | 17 | 13988.9408
[33 empty] | 18 | 9745.0611
[33 empty] | 19 | 5097.1323
[33 empty] | 20 | 4.5475e-10
[33 empty] | 21 | 5.0974e-10
[33 empty] | 22 | 5.7138e-10
[33 empty] | 23 | 6.4047e-10
[33 empty] | 24 | 7.1792e-10
[33 empty] | 25 | 8.0474e-10